Reading the Vernier Scale on the Travelling Microscope

Reading the Vernier scale on the travelling microscope often causes problems. This is a quick guide to make life easier.

Once the microscope is set up in a stable position, the object you are measuring must be carefully focussed and then the fine adjusters used to centre the crosshairs in the eyepiece on the object.

Now, swing the small magnifier over the vernier scale for a closer look. You will need good illumination to be able to read the scale easily.

First, find out where the zero on the upper scale is lying on the lower scale. In this picture it is lying somewhere between 6.00 and 6.05 cm. Just by estimating from this we can see that the measurement is going to be somewhere around 6.02 cm.

Now move the magnifier along the scale until you find the point at which the lines on both scales are perfectly aligned. There will always be a little bit of uncertainty here but looking at the magnified view (below) it seems that the best alignment is at 0.22 mm. You choose 0.22 mm rather than 0.72 mm because we’ve already determined that the value lies between 6.00 and 6.05 cm. This often causes confusion because the lower scale is marked in cm whilst the upper one is in mm.

So, the final value given by this scale reading is 6.00 cm (from the first reading) plus 0.22 mm (from the second reading) which gives 6.022 cm.

In the next example (taken after moving the crosshairs to the next measuring point), the zero on the top scale is between 6.05 cm and 6.10 cm.

And looking closer, the best alignment is at 0.64 mm. Again, we choose 0.64 rather than 0.14 because we’ve already determined that the value lies between 6.05 and 6.10 cm.

Thus the final value is given by 6.00 cm plus 0.64 mm giving an answer of 6.064 cm.

NB. You may well come across some vernier scales which just have values from 0 to 0.5 on the upper scale. In this case you have to think a bit harder, so if (as in this case) the zero point on the scale lies between 6.05 and 6.10, you arrive at the final answer by adding 6.05 cm to 0.14 mm, which still gives 6.064 cm as the answer.